# SAFETY RELIEF VALVE TEST REPORT

### Prepared For:

Client / Company: 
Address:

### Prepared By:

Western Air Compliance
Technician: Glenn Scatchard
Email: info@westernaircompliance.com.au
Website: www.westernaircompliance.com.au
Phone : 0459 851 411

### Report Date:

### Job Number:

### Reference:

### Confidentiality Notice

This report has been prepared exclusively for the client specified above. It contains information relating to the inspection, testing, and assessment of pressure equipment and associated components. No part of this report may be reproduced, distributed, or used without written permission from Western Air Compliance.

| WESTERN AIR COMPLIANCE Inspection • Testing • Certification Servicing Perth Metro & Regional Western Australia ABN - 36 280 464 689 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SAFETY RELIEF VALVE TEST REPORT TO AS 1271:2003 |  |  |  |  |  |
| Client / Company: Address: Test Number: | Site Contact: PO / Reference No: Test Date: |  |  |  |  |
| ## Valve Identification Size: Manufacturer: Model: | Discharge Type: Atmosphere Set Pressure (kPa): |  | Valve Serial No: Blowdown Type: Non-Adjustable |  |  |
| Acceptance Criteria & Gauge Details - Standard: AS 1271-2003 – Safety Valves, Bursting Discs and Other Pressure Relief Devices |  |  |  |  |  |
| ## Test Gauge ID: N/A Gauge Model: Druck DPI104 Gauge Serial No: 6113016 |  |  |  | Certification No: N/A Recalibration Due: 4/6/2026 Test Medium: Nitrogen |  |
| Final Test Results Average Final Lift Pressure (kPa): Average Final Reseat Pressure (kPa): Flow Rate (scfm) : |  | Blowdown %: Allowable Blowdown %: <15 |  |  | Leak Test : PASS Set Pressure Test: PASS Blowdown % : PASS |

Overall Result : PASS

## Comments & Deviations

Valve has been tested and found to be within the +-3% required tolerance of the marked set pressure

## Technician Declaration

## I certify that the safety valve detailed above has been inspected and tested in accordance with AS 1271:2003, and that the results recorded are true and correct at the time of inspection.

Technician: Glenn Scatchard

Signature:

Date: